## IML_TRHSH1SLSMM001B
﻿"ID" | Severity | Class | Last Update | Initial Update | Count | Description
22 | Caution | Power | 2025-03-01 02:27 | 2025-03-01 02:27 | 2 | Smart Storage Battery failure (Battery 1, service information: 0x0A). Action: Gather AHS log and contact Support
21 | Caution | POST Message | 2025-03-01 02:25 | 2025-03-01 02:25 | 1 | POST Error: 313-HPE Smart Storage Battery 1 Failure - Battery Shutdown Event Code: 0x0400. Action: Restart system. Contact HPE support if condition persists.
20 | Caution | Power | 2024-08-10 02:30 | 2024-08-10 02:30 | 2 | Smart Storage Battery failure (Battery 1, service information: 0x0A). Action: Gather AHS log and contact Support
19 | Caution | POST Message | 2024-08-10 02:29 | 2024-08-10 02:29 | 1 | POST Error: 313-HPE Smart Storage Battery 1 Failure - Battery Shutdown Event Code: 0x0400. Action: Restart system. Contact HPE support if condition persists.
18 | Caution | Power | 2023-09-05 08:21 | 2023-09-05 08:21 | 1 | Smart Storage Battery pre-failure (Battery 1). Action: 1. Consult server troubleshooting guide. 2 Gather AHS log and contact Support
17 | Caution | POST Message | 2022-11-09 16:05 | 2022-11-09 16:05 | 1 | POST Error: 310-IMPORTANT: Fan Solution Not Redundant. The system does not have the minimum required number of fans to ensure proper redundancy. Action: Install the required fans to ensure a redundant fan solution.
16 | Caution | POST Message | 2022-11-09 16:05 | 2022-11-09 16:05 | 1 | POST Error: 307-Fan Failure Detected - Fan 4 Failed. Action: Replace the indicated fan.
15 | Critical | Drive Array | 2022-11-09 15:47 | 2022-11-09 15:47 | 1 | Internal Storage Enclosure Device Failure (Bay 2, Box 1, Port 1I, Slot 0)
14 | Critical | Drive Array | 2022-11-09 15:47 | 2022-11-09 15:47 | 1 | Internal Storage Enclosure Device Failure (Bay 1, Box 1, Port 1I, Slot 0)
13 | Repaired | Power | 2022-11-09 14:52 | 2022-11-09 14:52 | 1 | System Power Supplies Not Redundant
12 | Repaired | Power | 2022-11-09 14:52 | 2022-11-09 14:52 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 2)
11 | Repaired | Drive Array | 2022-11-09 14:47 | 2022-11-09 14:46 | 1 | Internal Storage Enclosure Device Failure (Bay 2, Box 1, Port 1I, Slot 0)
10 | Repaired | Power | 2022-11-09 14:20 | 2022-11-09 14:20 | 1 | System Power Supplies Not Redundant
9 | Repaired | Power | 2022-11-09 14:20 | 2022-11-09 14:20 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
8 | Repaired | Drive Array | 2022-11-09 14:07 | 2022-11-09 14:05 | 1 | Internal Storage Enclosure Device Failure (Bay 1, Box 1, Port 1I, Slot 0)
7 | Caution | Environment | 2022-10-22 16:52 | 2022-10-22 16:52 | 1 | System Fans Not Redundant (Location System)
6 | Critical | Environment | 2022-10-22 16:52 | 2022-10-22 16:52 | 1 | Fan Failure (Fan 4, Location System)
5 | Informational | System Revision | 2022-10-12 08:36 | 2022-10-12 08:36 | 1 | Firmware flashed (iLO 4 2.78)
4 | Informational | System Revision | 2022-10-12 08:32 | 2022-10-12 08:32 | 1 | Firmware flashed (System BIOS - P89 v2.80 (10/16/2020))
3 | Caution | POST Message | 2001-01-01 00:02 | [NOT SET] | 1 | POST Error: 289-IMPORTANT: A new network or storage device has been detected. This device will not be shown in the Legacy BIOS Boot Order options in RBSU until the system has booted once. Action: No action required.
2 | Caution | POST Message | 2001-01-01 00:02 | [NOT SET] | 1 | POST Error: 288-IMPORTANT: A new storage device has been detected and has been added to the end of the Boot Controller Order. Action: No action required.
1 | Caution | POST Message | 2001-01-01 | 2001-01-01 | 1 | POST Error: 266-Non-Volatile Memory Corruption Detected. Configuration settings restored to defaults. If enabled, Secure Boot security settings may be lost. Action: Restore desired configuration settings. Contact HPE if issue persists.

## IML_ESSY1SLSMM001B
﻿"ID" | Severity | Class | Last Update | Initial Update | Count | Description
46 | Caution | Power | 2025-02-15 02:34 | 2025-02-15 02:34 | 2 | Smart Storage Battery failure (Battery 1, service information: 0x0A). Action: Gather AHS log and contact Support
45 | Caution | POST Message | 2025-02-15 02:32 | 2025-02-15 02:32 | 1 | POST Error: 313-HPE Smart Storage Battery 1 Failure - Battery Shutdown Event Code: 0x0400. Action: Restart system. Contact HPE support if condition persists.
44 | Caution | Power | 2024-11-11 15:18 | 2024-11-11 15:18 | 1 | Smart Storage Battery pre-failure (Battery 1). Action: 1. Consult server troubleshooting guide. 2 Gather AHS log and contact Support
43 | Repaired | Power | 2024-05-25 23:20 | 2024-05-25 20:57 | 1 | System Power Supplies Not Redundant
42 | Repaired | Power | 2024-05-25 23:20 | 2024-05-25 20:57 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
41 | Repaired | Power | 2024-04-27 06:34 | 2024-04-27 02:03 | 1 | System Power Supplies Not Redundant
40 | Repaired | Power | 2024-04-27 06:34 | 2024-04-27 02:03 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 2)
39 | Repaired | Power | 2023-10-21 13:44 | 2023-10-21 13:44 | 1 | System Power Supplies Not Redundant
38 | Repaired | Power | 2023-10-21 13:44 | 2023-10-21 13:44 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
37 | Repaired | Power | 2023-10-21 13:44 | 2023-10-21 13:44 | 1 | System Power Supplies Not Redundant
36 | Repaired | Power | 2023-10-21 13:44 | 2023-10-21 13:44 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 2)
35 | Repaired | Drive Array | 2023-10-20 12:52 | 2023-10-20 12:51 | 3 | Internal Storage Enclosure Device Failure (Bay 2, Box 1, Port 1I, Slot 0)
34 | Informational | Power | 2023-10-20 12:35 | 2023-10-20 12:35 | 1 | System Power Supply Inserted (Power Supply 1)
33 | Informational | Power | 2023-10-20 12:33 | 2023-10-20 12:33 | 1 | System Power Supply Removed (Power Supply 1)
32 | Repaired | Power | 2023-10-20 12:35 | 2023-10-20 12:33 | 1 | System Power Supplies Not Redundant
31 | Repaired | Power | 2023-10-20 12:35 | 2023-10-20 12:33 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
30 | Repaired | Power | 2023-10-20 12:32 | 2023-10-20 12:32 | 1 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 2)
29 | Informational | Power | 2023-10-20 12:32 | 2023-10-20 12:32 | 1 | System Power Supply Inserted (Power Supply 2)
28 | Repaired | Power | 2023-10-20 12:32 | 2023-10-20 12:30 | 1 | System Power Supplies Not Redundant
27 | Informational | Power | 2023-10-20 12:30 | 2023-10-20 12:30 | 1 | System Power Supply Removed (Power Supply 2)
26 | Repaired | Drive Array | 2023-10-20 12:28 | 2023-10-20 12:24 | 2 | Internal Storage Enclosure Device Failure (Bay 1, Box 1, Port 1I, Slot 0)
25 | Repaired | Power | 2023-10-20 12:15 | 2023-10-16 09:15 | 2 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
24 | Caution | Power | 2023-09-27 10:11 | 2023-09-27 10:11 | 2 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
23 | Caution | POST Message | 2023-09-26 23:25 | 2023-09-26 23:15 | 2 | POST Error: 1624-Power Supply Unplugged - Power Supply 1 is unplugged. Action: Ensure the Power Supply is plugged in.
22 | Caution | Power | 2023-09-26 23:25 | 2023-09-26 23:15 | 4 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
21 | Caution | Power | 2023-09-26 19:59 | 2023-09-26 19:59 | 1 | System Power Supply: General Failure (Power Supply 1)
20 | Caution | Power | 2023-09-26 17:16 | 2023-09-26 17:16 | 2 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
19 | Caution | Power | 2023-09-26 16:31 | 2023-09-26 16:31 | 2 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
18 | Caution | POST Message | 2023-09-25 15:03 | 2023-09-25 15:03 | 1 | POST Error: 1624-Power Supply Unplugged - Power Supply 1 is unplugged. Action: Ensure the Power Supply is plugged in.
17 | Caution | Power | 2023-09-25 15:27 | 2023-09-25 15:03 | 4 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
16 | Caution | Power | 2023-09-25 14:46 | 2023-09-25 14:46 | 1 | System Power Supply: General Failure (Power Supply 1)
15 | Caution | POST Message | 2023-09-25 14:28 | 2023-09-25 14:14 | 2 | POST Error: 1624-Power Supply Unplugged - Power Supply 1 is unplugged. Action: Ensure the Power Supply is plugged in.
14 | Caution | Power | 2023-09-25 14:36 | 2023-09-25 14:14 | 6 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
13 | Caution | POST Message | 2023-09-25 13:22 | 2023-09-25 13:22 | 1 | POST Error: 1624-Power Supply Unplugged - Power Supply 1 is unplugged. Action: Ensure the Power Supply is plugged in.
12 | Caution | Power | 2023-09-25 13:24 | 2023-09-25 13:22 | 4 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
11 | Caution | Power | 2023-03-27 13:17 | 2023-03-27 13:17 | 1 | System Power Supply: General Failure (Power Supply 1)
10 | Caution | POST Message | 2023-03-27 13:14 | 2023-03-27 13:14 | 1 | POST Error: 1624-Power Supply Unplugged - Power Supply 1 is unplugged. Action: Ensure the Power Supply is plugged in.
9 | Caution | Power | 2023-03-27 13:14 | 2023-03-27 13:14 | 2 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
8 | Critical | System Error | 2022-11-03 14:23 | 2022-11-03 14:23 | 1 | Server Critical Fault (Service Information: Input Power Loss, Power Supply, Power Supply 1 (03h) Power Supply 2 (03h))
7 | Caution | POST Message | 2022-11-03 14:13 | [NOT SET] | 1 | POST Error: 289-IMPORTANT: A new network or storage device has been detected. This device will not be shown in the Legacy BIOS Boot Order options in RBSU until the system has booted once. Action: No action required.
6 | Caution | POST Message | 2022-11-03 14:13 | 2022-11-03 14:07 | 2 | POST Error: 1624-Power Supply Unplugged - Power Supply 1 is unplugged. Action: Ensure the Power Supply is plugged in.
5 | Caution | Power | 2022-11-03 14:13 | 2022-11-03 14:07 | 4 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
4 | Critical | System Error | 2022-11-03 14:04 | 2022-11-03 14:04 | 1 | Server Critical Fault (Service Information: Input Power Loss, Power Supply, Power Supply 1 (03h) Power Supply 2 (03h))
3 | Caution | POST Message | 2022-11-02 18:59 | 2022-11-02 18:45 | 2 | POST Error: 1624-Power Supply Unplugged - Power Supply 1 is unplugged. Action: Ensure the Power Supply is plugged in.
2 | Caution | Power | 2022-11-02 18:59 | 2022-11-02 18:45 | 4 | System Power Supply: Input Power Loss or Unplugged Power Cord, Verify Power Supply Input (Power Supply 1)
1 | Caution | Power | 2022-11-02 16:57 | 2022-11-02 16:57 | 1 | System Power Supply: General Failure (Power Supply 1)
0 | Informational | Maintenance | 2022-11-02 16:57 | 2022-11-02 16:57 | 1 | IML Cleared (System Administrator)